LIVING RESEARCH WORKBOOK

DENTOBOT Daily Compass

One editable operating picture for daily focus, questions, evidence, and handoff

Open this first. Write freely in the yellow cells, tick boxes, paste meeting notes, and change priorities. This is your OneNote-like working memory, deliberately shorter and more operational than the formal engineering record.

| Control | Current value |
| --- | --- |
| Last reconciled | 28 August 2026 |
| Current phase | Priority-0 Step 6 simulation stabilization: audit collision geometry, diagnose the exact partial-path failure, and expose a guarded three-stage preview. Verification is operator-led and simulation-only. |
| Formal sources | Project Context · Architecture · Development Plan · Decisions · Tasks · Reproducibility · dated logbooks |
| Detailed gap source | Research-to-Clinical Gap Closure & Engineering Rigidity Checklist, August 2026 |

## Today at a glance

| Prompt | Your update |
| --- | --- |
| Date / location | 28 August 2026 · IITM Ubuntu development workstation |
| Today’s one sentence | Stop treating a MoveIt percentage as the answer; make geometry, frames, and the first failing robot state visible before optimization. |
| Outcome 1 | Reset the Priority-0 strategy to collision audit → structured diagnostics → explicit three-stage motion. |
| Outcome 2 | Record that the current forehead plane/base snap is circular and cannot support a reachability or placement claim. |
| Outcome 3 | Reconcile the Daily Compass and controlled task tracker so Now, Next, and Future are obvious again. |
| Do not work on | Planner tuning to force x4 to pass; automatic base optimization; broad diagnostic scripts; physical registration, hardware motion, or drilling. |

## Fast capture inbox

Unsorted notes — organize during reconciliation

The project has moved beyond the earlier save/restore and Viewer firefighting. Those paths are substantially stabilized at software level, although normal-window and active-ROS lifecycle acceptance still have open items. The key present insight is that x4's 44.44–45.34% Cartesian result is a symptom, not a causal diagnosis. The current API hides the adjacent last-valid/first-invalid states, and the current mount plane is not an independent forehead or mechanical-mount datum. The next useful milestone is an operator-visible diagnostic loop that shows the exact collision payload, robot state, joint margins, IK/continuity result, and failure boundary without weakening safety rules.

Control rule: this workbook is editable working memory, not clinical approval or engineering authority. Unreviewed notes do not silently become accepted requirements.

1 · NORTH STAR AND CURRENT TRUTH

# What DENTOBOT is trying to prove now

PoC closure principle. Robust does not mean feature-complete. The narrow workflow must have explicit inputs, preserved geometry, traceable state, bounded failure behavior, repeatable physical output, and measured accuracy sufficient to connect planning to registration and robot execution.

## Current end-to-end workflow

☐ CBCT import and geometry inspection.

☐ External segmentation; human review and correction of authoritative anatomy.

☐ Manual or assisted Entry→Target creation using the same world-RAS line contract.

☐ Target/occlusal frame plus provisional guide and four independent docks.

☐ Visible erupted support, insertion direction, undercut/blockout, patient-contact shell.

☐ One unified shell + guide + reinforcement + channels + docks model.

☐ PASS/WARNING/FAIL verification and one atomic STL.

☐ Next bridge: physical seating, registration/TRE, robot/tool metrology, safe dry run.

## Honest evidence ladder

| Label | Minimum meaning | Does not by itself prove |
| --- | --- | --- |
| Static | Source/document/state inspection | Runtime behavior |
| Synthetic | Automated generated-data verification | Representative anatomy or fit |
| Developer-live | Observed application workflow | Clinical acceptance |
| Representative anatomy | Relevant governed CBCT/scene | Manufactured seating |
| Printed phantom | Fabrication, seating, dimensions, repeatability | Patient safety or efficacy |
| Clinician/expert | Explicit acceptance question reviewed | Unmeasured system accuracy |

## Current truth — edit when evidence changes

| Implemented and strong | Implemented; deeper evidence due |
| --- | --- |
| Transactional .dentocase restore; freely selectable stages after restore; Step 6 Viewer crash fix; corrected inferior TMJ opening direction; simulation-only MoveIt guard; fail-closed rejection of partial drilling. | Representative condylar/crown landmark review; exact collision-payload audit; last-valid/first-invalid motion diagnosis; valid mount-frame semantics; tool fit, physical seating, registration, TCP and metrology. |
| Known failure / blocker | Explicitly deferred |
| Opaque partial Cartesian failure; circular mount-plane/base snap; unverified TMJ landmark subregions/MPR review; active-ROS New Case abort; saved 2.0 mm burr versus 1.5 mm guide bore. | Automatic base optimization and multi-tooth sweeps until diagnostics are trustworthy; full canonical frame refactor and physical registration until later tracks; interactive gap slider until Priority-1 safeguards; New GUI aesthetics until Priority 3. |

Safety boundary: no robot motion, drilling, patient-facing, or safety-critical operation is authorized by this planning workbook. Planning and topology results do not authorize drilling.

2 · CLINICAL CLOSURE WORKSHEET

# Decisions that must become explicit

For each row, enter a numeric threshold, a bounded qualitative test, or “deferred” with a reason and revisit trigger.

## Procedure and trajectory

| Question | Owner / status | Decision, evidence, or next action |
| --- | --- | --- |
| Exact automated task and explicit out-of-scope work | [ ] | [Type here] |
| Clinician approval; stop, re-plan, re-register, abandon events | [ ] | [Type here] |
| Required anatomy and hard no-go structures | [ ] | [Type here] |
| Anatomical meaning of Entry and Target | [ ] | [Type here] |
| Bur diameter/depth, straight-line assumption, remaining dentin | [ ] | [Type here] |
| Allowed planning translation/angle error; assisted-plan acceptance | [ ] | [Type here] |

## Template V0

| Question | Owner / status | Decision, evidence, or next action |
| --- | --- | --- |
| Support/retention surfaces and excluded surfaces | [ ] | [Type here] |
| Insertion direction and acceptable undercut engagement | [ ] | [Type here] |
| Clearance, wall, crown coverage, support-tooth count | [ ] | [Type here] |
| Gingival/cervical margin and boundary-edit acceptance | [ ] | [Type here] |
| Seating force, rocking/gap, removal, repeated cycles | [ ] | [Type here] |
| Printer/material/orientation/process/dimensional acceptance | [ ] | [Type here] |

## Guide, docking, registration, and control

| Question | Owner / status | Decision, evidence, or next action |
| --- | --- | --- |
| Sleeve versus docking reference; channel/bore dimensions | [ ] | [Type here] |
| Landmark role versus load-bearing dock role | [ ] | [Type here] |
| Frame chain and re-registration invalidation | [ ] | [Type here] |
| TRE tolerance and independent measurement | [ ] | [Type here] |
| Depth limit, corridor, stop trigger, latency, E-stop/override | [ ] | [Type here] |

3 · PRIORITY AND DEEP-DIVE BOARD

# What to work on next

## Priority stack

| Horizon | Work package |
| --- | --- |
| Now | Quarantine the circular base snap, use only a labelled manual simulation base, and implement Track B collision geometry/payload audit. |
| Next | Track C structured per-candidate/per-stage diagnostics, followed by Track D strict PreEntry, terminal Entry, and guarded drilling stages. |
| Later | Priority-1 TMJ/crown/MPR safeguards; Priority-2 restore review and jaw-gap preview; Template V0 representative/physical evidence; Priority-3 GUI. |
| Not now | Unlimited planner/tolerance search; automatic base optimization; broad frame refactor; batch tooth studies; physical registration, hardware homing/execution, drilling, or clinical claims. |

## Default fast-track order

☐ Freeze the clinical task boundary and Template V0 assumptions.

☐ Run one representative end-to-end planning/template case.

☐ Print, seat, remove, reseat, load, and measure Template V0.

☐ Formalize the frame graph and first TRE experiment.

☐ Keep robot/tool/sensing requirements alive in parallel.

☐ Update the total error budget from measured results.

## Deep dives on work already “done” in software

| Subsystem | Question before a stronger claim | Evidence |
| --- | --- | --- |
| Segmentation/display | Are native masks, optional smooth preview, CBCT quality, artifacts, and uncertainty acceptable for the task? | [ ] |
| Manual/assisted trajectories | Are Entry/Target meaningful, repeatable, MPR-correctable, and safely invalidated after edits? | [ ] |
| Visible support ROI | Does the boundary exclude roots/gingiva surrogates and retain accessible fitting surfaces? | [ ] |
| Undercut/shell | Does the guide seat, resist rocking, remain removable, and preserve printed clearance? | [ ] |
| Docks/guide holes | Are channels open/aligned, docks rigid/dimensional, and load paths defensible? | [ ] |
| Scene persistence | Can reopened scenes switch/backtrack without stale, mismatched, or orphaned descendants? | Current; review due |
| Final verification/STL | Which checks are computational, anatomical, print, registration, or clinician evidence? | Physical evidence due |

Observed failure rule. A convenience/visualization task may jump the queue only when an observed defect prevents the bounded representative, physical, registration, or metrology test. Record the blocked acceptance check.

4 · PARALLEL LANE BOARD

# Keep the whole system visible

Status: Active · Waiting · Blocked · Deferred · Evidence due

| Lane | Immediate purpose | Current state / next concrete milestone |
| --- | --- | --- |
| A · Imaging / planning | Reviewed anatomy → approved trajectory | Trajectory/template software is mature; Priority-1 TMJ/crown/MPR and representative acceptance remain. |
| B · Template / physical | Repeatably seatable reference body | Unified template exists; correct burr/bore mismatch, then print, seat, reseat and measure Template V0. |
| C · Registration | Template/tooth → robot transform chain | Deferred until simulation diagnosis stabilizes; define frame graph, phantom and TRE protocol before motion. |
| D · Head-mounted robot | Execute approved drill axis | Priority-0 Step 6 collision audit, diagnostics and three-stage simulation; no hardware execution. |
| E · Tooth-mounted robot | Compact robot on dental reference | Future mechanism lane; retain DOF, load-path and docking questions without active implementation. |
| F · Tool / aerotor | Calibrated controllable end effector | TCP remains provisional; physical tool-axis calibration, depth limiting and load/thermal evidence are future. |
| G · Sensing / stop | Detect abnormal transitions | Pressure-monitor bench remains separate evidence only; stop logic and controller integration are future. |
| H · Verification / metrology | System accuracy and repeatability | Persist diagnostic evidence now; total-system error budget and physical metrology follow representative work. |
| I · Research / IP | Novelty, evidence, figures, claims | Capture architecture and evidence after stable milestones; do not publish clinical or hardware claims from simulation. |

## Tooth-mounted robot questions — keep alive in parallel

| Theme | Working notes / decision needed |
| --- | --- |
| Functional architecture | [1-DOF feed? angular correction? full local positioning?] |
| Load path and stiffness | [Axial/lateral/torque closure; deflection budget] |
| Mechanism / actuation | [Stroke, force, resolution, backlash, hard stops] |
| Packaging / clinical | [Envelope, mass, access, barriers, emergency removal] |
| Two trajectories | [Reindex, angular adjustment, parallel constraint, or separate poses] |

## Lane review note

What moved? What lane disappeared? What is its next smallest deliverable?

Focus moved from forcing one MoveIt case to pass toward building a trustworthy diagnostic simulation framework. Save/restore, modular continuation, Step 6A direction and Viewer integrity improved substantially. Collision transfer, failure classification, mount semantics and representative/physical evidence are now the limiting work.

5 · TEMPLATE V0 EVIDENCE WORKSHEET

# From watertight mesh to physical reality

## Representative software run

| Item | PASS / WARN / FAIL | Evidence or failure note |
| --- | --- | --- |
| Reviewed segmentation and source pairing | [ ] | [Type here] |
| Trajectory correction, locking, and MPR | [ ] | [Type here] |
| Support patch excludes root/subgingival anatomy | [ ] | [Type here] |
| Insertion direction and undercut current | [ ] | [Type here] |
| One occupied watertight/manifold final model | [ ] | [Type here] |
| Guide channels and four dock bores open | [ ] | [Type here] |
| MRB reopen and upstream invalidation | [ ] | [Type here] |
| One STL reopens at expected scale/topology | [ ] | [Type here] |

## Manufacturing record

| Field | Value | Field | Value |
| --- | --- | --- | --- |
| Printer / process | [Type here] | Date / operator | [Type here] |
| Material / lot | [Type here] | Layer / resolution | [Type here] |
| Orientation / supports | [Type here] | Post-processing | [Type here] |
| Source / case | [De-identified] | STL hash | [Type here] |

## Physical seating and rigidity

| Check | Method / N | Result and acceptance |
| --- | --- | --- |
| Terminal seating without excessive force | [ ] | [Type here] |
| Rocking / gap at full seating | [ ] | [Type here] |
| Repeat pose over insert/remove cycles | [ ] | [Mean / SD / worst] |
| Removable without locking or fracture | [ ] | [Type here] |
| Shell flex under expected load | [ ] | [Type here] |
| Dock/guide rigidity relative to shell | [ ] | [Type here] |
| CAD-to-print critical dimensions | [ ] | [Planned / measured / error] |

Reality check. CBCT surfaces, offsets, voxel Booleans, and software undercut processing are hypotheses about physical fit until a printed guide is seated and measured.

6 · REGISTRATION AND TOTAL ERROR BUDGET

# How planning coordinates reach the robot

## Frame graph

| From → To | Transform source | When measured | Invalidation / evidence |
| --- | --- | --- | --- |
| RAS → tooth/template plan | [Type here] | [Type here] | [Type here] |
| Plan → physical template/dock | [Type here] | [Type here] | [Type here] |
| Physical dock → robot base | [Type here] | [Type here] | [Type here] |
| Robot base → end effector | [Type here] | [Type here] | [Type here] |
| End effector → bur/tool | [Type here] | [Type here] | [Type here] |

## First registration experiment

| Prompt | Working definition |
| --- | --- |
| Method | [Fiducials / keyed dock / optical / probe / hybrid] |
| Rigid phantom / known targets | [Type here] |
| Primary metric | Target registration error at/near drilling target |
| Repeat protocol | [Registration N; reseating N; redocking N] |
| Acceptance | [Mean / standard deviation / worst-case threshold] |

## Total-system error budget

| Contributor | Metric | Measurement method | Value / status |
| --- | --- | --- | --- |
| CBCT / image geometry | mm | [Type here] | [Type here] |
| Segmentation boundary | mm | [Type here] | [Type here] |
| Trajectory planning | mm / deg | [Type here] | [Type here] |
| Template manufacturing | mm / deg | [Type here] | [Type here] |
| Template seating | mm / deg | [Type here] | [Type here] |
| Template-to-robot docking | mm / deg | [Type here] | [Type here] |
| Registration | TRE mm | [Type here] | [Type here] |
| Robot kinematics | mm / deg | [Type here] | [Type here] |
| Tool / TCP calibration | mm / deg | [Type here] | [Type here] |
| TOTAL AT TARGET | mm / deg | [Combination rule] | [Type here] |

7 · WEEKLY CLARITY AND DAILY HANDOFF

# Prevent chaos from returning

## Weekly mental-clarity board

| Question | Green = I know this | Red = next action |
| --- | --- | --- |
| Current clinical task boundary? | [One sentence] | [Owner / date] |
| Trajectory clinically meaningful? | [Evidence] | [Next test] |
| Will Template V0 physically seat? | [Evidence] | [Next test] |
| Template/dock rigid enough? | [Evidence] | [Next test] |
| Can planning coordinates reach robot? | Not established: the current percentage is not causal evidence | Complete collision audit and first-failure diagnostics before repositioning conclusions |
| Can robot reproduce the axis? | [Metrology] | [Next test] |
| Can drilling be stopped safely? | [Evidence] | [Next test] |
| What is the dominant error? | [Measured contributor] | [Measurement due] |
| What should not be worked on? | Hardware execution, clinical use, auto-base optimization and broad GUI polish | Reject work that bypasses the Priority-0 diagnostic sequence |

## Daily note block — duplicate as needed

| Prompt | Daily record |
| --- | --- |
| Date / session | 28 August 2026 · planning and reconciliation session |
| Intent | Recover a clear mental model after a long implementation stretch and set one defensible development order. |
| What happened | Reviewed the current Step 6 implementation scope, controlled project documents, task priorities and latest evidence. Separated symptom from cause: x4 is a negative diagnostic fixture, not proof of a collision, base or mechanical workspace defect. Promoted collision audit, structured motion diagnosis and three-stage planning into the controlled Priority-0 strategy; no runtime or hardware action was performed. |
| Evidence level | Static planning/documentation reconciliation |
| Decision / new question | Diagnose before optimization. Keep the forehead-mount note unprioritized, but quarantine its circular snap as a Priority-0 dependency. |
| Failure / limitation | No collision audit, diagnostic UI or three-stage refactor has been implemented yet. Representative anatomy, physical fit, registration, TCP and hardware evidence remain absent. |
| Next physical action | None authorized. Next work remains simulation/software-only: begin Track B after the flawed base snap is visibly quarantined. |

8 · RECONCILIATION PROTOCOL

# How to use this workbook with Codex

☐ Edit this DOCX directly. Keep incomplete ideas in yellow cells.

☐ Ask: “Read and reconcile the DENTOBOT Daily Compass.”

☐ Codex compares your edits with repository state and the controlled documents.

☐ Contradictions, unsafe assumptions, and ambiguous clinical thresholds are surfaced rather than guessed.

☐ Confirmed decisions, tasks, and evidence are written into the correct controlled Markdown file and today’s logbook.

☐ Git and Google Drive are synchronized only when you explicitly approve that batch.

## Meeting / clinician notes

Date, people/roles, question asked, answer/evidence, follow-up owner

[Type here]

## Handoff note for the next session

What future-you or Codex must know before touching the project again

Start from the project tracker dashboard and Priority-0 Development Plan, not the old dated Next section in TASKS.md. Do not resume planner tuning or broad diagnostic scripts. Preserve x4 as the exact negative fixture, expose the collision payload and first failing state in the normal DENTOWorkflow UI, and keep Execute hidden. The immediate manual simulation-base datum is only a diagnostic control. It is not forehead truth, registration, or completion of the future mount-frame workstream.

## Decisions waiting for promotion into controlled docs

| Draft decision | Evidence / owner | Promote? |
| --- | --- | --- |
| Choose the numeric Stage-2 terminal tip/contact tolerance | Requires Track B/C evidence and operator review | Later |
| Define the physical base_link-to-mount-face transform | Requires actual mount CAD, contact side/normal and allowable offset/tilt | Later |
| Select the bounded MRML representation for diagnostic sessions | Implementation design; must preserve fingerprints and exclude live ROS state | Later |

Data hygiene. Do not enter patient identifiers, credentials, tokens, or non-anonymized medical data in this workbook.